## Slide 1: Chemical Safety Module
Notes: 2 LOGO VERSION – UNDER LAYOUTS SELECT:
LAYOUT “TITLE SLIDE – 2 LOGOS”

## Slide 2: Working Safely With Chemicals
Lawson Health Research Institute’s
Chemical Safety Education Module
Notes: Layout “Title and Content”

## Slide 3: Program Components
Safe Chemical Concepts
Safe Use and Storage of Chemicals
Hazardous Waste
Emergency Procedures
Notes: Layout “Title and Content”

## Slide 4: Important Regulations for Chemical Safety
Occupational Health and Safety Act – Part IV (Toxic Substances), sections 34 to 42;
Ontario Regulation 67/93 - Health Care, sections 98 to 117 (Flammable Liquids, Material Handling & Housekeeping and Waste);
Ontario Regulation 833 – Control of Exposure to Biological or Chemical Agents;
Ontario Regulation 860 – Workplace Hazardous Materials Information System;
Ontario Regulation 350/06 – Building Code; and
NFPA 45 – Standard Fire Protection for Laboratories Using Chemicals.
Notes: Layout “Title and Content”

## Slide 5: Safe Chemical Concepts
Notes: Layout “Title and Content”

## Slide 6
Toxicity  Toxicity is a measure of the poisoning strength of a chemical; weakly toxic chemicals require large doses to cause poisoning & strongly toxic chemicals only need small doses to cause poisoning.
With proper handling, even highly toxic chemicals can be used safely.
Hazard  any real or potential condition, practice, behavior, act or thing that can cause injury, illness or death or damage to or loss of equipment, property or the environment.
Less toxic chemicals can be extremely hazardous if handled improperly.
Safe Chemical Concepts
Notes: Layout “Title and Content”

## Slide 7: Chemical Realities
Exposures to toxic agents in the laboratory can have severe consequences, including death.
These injuries can occur in any laboratory where toxic chemicals are handled.
All chemical injuries are preventable.
If laboratory workers use the proper equipment & PPE, if they use the correct analytical techniques and if they have adequate chemical knowledge and training, chemical exposures will not occur.
Notes: Layout “Title and Content”

## Slide 8: Best Practice Methodology
Keep lab worker’s exposure to chemicals below the regulatory levels (O.Reg 833);
Substitute, eliminate or isolate hazardous chemicals where possible;
Designate a person to manage chemical safety in your lab; ALWAYS ask your supervisor or senior lab technician for help when you are unsure about how to use a chemical or conduct a procedure or protocol!
Train / inform workers (on high risk chemicals as well as general laboratory etiquette);
Label ALL chemical containers, even decanted ones (WHMIS 2015); and
Keep all SDS’s up to date.
Notes: Layout “Title and Content”

## Slide 9: Lab Attire and Safety in Labs
The basic required Personal Protective Equipment (PPE) for working in the lab:
Lab Coat
Full length pants
Closed toe shoes
Safety eyewear
Gloves appropriate for the work being conducted
Ensure long hair is tied up and back in such a way as to avoid it falling into your experiment.
Review the chemical SDS to get more information about additional PPE that may be required.
NO FOOD OR DRINKS IN THE LABS!!!
Notes: Layout “Title and Content”

## Slide 10: Lab Attire and Safety in Labs
Food, drinks and personal items are not allowed in lab areas and containment zones.
Food and/or drinks provide the opportunity to accidentally ingest chemicals and biologicals that you or others in the lab may be working with.
Personal items, such as cell phones, provide the opportunity for them to become contaminated and you can bring this contamination home with you.
Use designated food and drink areas within your area to store, eat and drink your food and drinks.
Do not store your food inside fridges and freezers that are used to store cells, cultures, chemicals, pharmaceuticals, etc. Use a designated lunch room fridge.
Notes: Layout “Title and Content”

## Slide 11: Working with Chemicals Safely
Know the Hazards;
Read the SDS;
Use effective labelling (WHMIS 2015);
Know your EMERGENCY RESPONSE PROCEDURES;
Use the PPE listed on the SDS, or perform a hazard analysis to determine the best PPE for your procedure;
Know the most effective First Aid procedures; and
Understand ACUTE vs. CHRONIC effects.
Notes: Layout “Title and Content”

## Slide 12: WHMIS 2015 Pictograms
Flammable
Explosive
Oxidizing
Corrosive
Compressed
Gas
Harmful / Irritant
Toxic
Health Hazard
Biohazardous
Infectious
Material
Harmful to the Environment
Notes: Layout “Title and Content”

## Slide 13: WHMIS Supplier Label
Notes: Layout “Title and Content”

## Slide 14: WHMIS Workplace Label Examples
Notes: Layout “Title and Content”

## Slide 15: WHMIS Workplace Label Example
Additional Information:
A fold-out or accordion style label is allowed if there is not enough space on the product to provide a label that meets the legibility requirements of the Hazardous Products Regulations.
Note that:
the required pictogram(s), signal word and hazard statement(s) must be grouped together on the label,
the label must be clearly and prominently displayed on a surface that is visible under normal conditions of use, and
the label must, under normal conditions of transport and use, remain affixed to, printed or written on, or attached to the product or its container and remain legible.
Notes: Layout “Title and Content”

## Slide 16: WHMIS Workplace Label Example
Exceptions/Exemptions:
100 mL or less – Exempt only from requirement to have precautionary or hazard statements on the label.
3mL or less – Where the label will interfere with normal use of the product, the product would be required to have a label that is durable and legible for transport and storage, but may be removable for when you need to use the container.
Notes: Layout “Title and Content”

## Slide 17: Safety Data Sheet (SDS)
Always be familiar with the hazards of a product before you start using it. You should look at an SDS, and match the name of the product on the container to the one on the SDS. Know the hazards, understand safe handling and storage instructions, as well as understand what to do in an emergency.
The SDS has four main purposes. It provides information on:
Identification: of the product and supplier.
Hazards: physical (eg. fire and reactivity) and health hazards.
Prevention: steps you can take to work safely, reduce or prevent exposure, or in an emergency.
Response: appropriate responses in various situations (e.g., first-aid, fire, accidental release).
Notes: Layout “Title and Content”

## Slide 18: Safety Data Sheet (SDS)
SDS’s contain very important information on chemicals that you may use in the lab.
Below are the headings contained within an SDS:
Identification – Product identifier / Product Name
Hazard Identification – Class of hazard, category or subcategory
Composition / Information on Ingredients
First Aid Measures
Fire-fighting Measures
Accidental Release Measures
Handling and Storage
Exposure Controls / Personal Protection
Physical and Chemical Properties
Stability and Reactivity
Toxicological Information
Notes: Layout “Title and Content”

## Slide 19: Safety Data Sheet (SDS)
Other information that may be contained in SDS’s, but are not mandatory under Canadian Regulations:
12. Ecological Information
13. Disposal Consideration
14. Transport Information
15. Regulatory Information
16. Other Information.
Notes: Layout “Title and Content”

## Slide 20: Health Hazards
Carcinogen - causes or is suspected to cause cancer
Toxic Agent - poisonous; causes acute or chronic effects
Reproductive Toxin - could have harmful effect on male or female reproductive system or on developing fetus
Irritant - can cause inflammation of skin or eyes
Corrosive - cause irreversible damage to living tissue
Sensitizer - cause exposed persons to develop allergies to the substance
Organ-specific agents - hazardous to specific organs in body (e.g., lungs, liver, blood, kidneys, nervous system)
Notes: Layout “Title and Content”

## Slide 21: Routes of Entry
Routes of entry will determine the required PPE that is necessary to keep you safe.
Notes: Layout “Title and Content”

## Slide 22: Exposure to Hazards
Dose – the amount of a chemical or agent that actually enters the body. The actual dose that a person receives depends on the concentration, frequency and duration of the exposure:
In general, the greater the dose, the more severe the health effects
Individual variability – not all people exhibit the same signs and symptoms (especially to chronic effects)
Notes: Layout “Title and Content”

## Slide 23: Exposure to Hazards
Acute effect (acute exposure)
occurs rapidly following brief exposure (e.g., acid burn)
Chronic effect (chronic exposure)
develops/recurs slowly, over long periods following repeated, long-term, low-level exposure (e.g., benzidine linked to bladder cancer, mesothelioma caused by asbestos exposure)
Notes: Layout “Title and Content”

## Slide 24: Controlling Exposure to Hazards
Notes: Layout “Title and Content”

## Slide 25: Safe Use and Storage of Chemicals
Notes: Layout “Title and Content”

## Slide 26: Safe Use of Chemicals
Personal Protective Equipment (PPE):
The PPE that you require should be detailed in the lab Standard Operating Procedures for that particular experiment or procedure. Remember that PPE is your last line of defense!
Remember the basics of PPE:
Lab coat, full length pants, closed toe shoes, safety eyewear and gloves.
If you don’t wear a lab coat, you may take chemicals or agents home on your clothing.
If it is listed on the SDS, the Ministry of Labour expects you to use it!
Chemical goggles vs. Glasses
Face Shield
Chemical Apron
Nitrile vs Urethane gloves
Fire Retardant Clothing
CSA Approved Clothing
Notes: Layout “Title and Content”

## Slide 27: Safe Use of Chemicals
Laboratory Safety Equipment:
Fume Hoods
Fume Hoods are ventilated enclosures that protect you from being exposed to chemical fumes, gases and aerosols generated within the hood.
Room air drawn into the hood is vented out the stack to outside.
Use:
Hood should always be ON. Ensure it is functioning by closing the sash almost completely and put a tissue at the opening. The tissue should be drawn into the hood.
If equipped, test that the air flow alarm is functioning by opening the sash completely. After a few moments, the alarm should sound. OR use the test button if the fume hood is equipped with one.
Lower sash to marked (working level) position – at 6 to 12 inches (15 – 30cm).
Notes: Layout “Title and Content”

## Slide 28: Fume Hoods
Optimal sash height while working in a fume hood:
6 - 12 inches
OR
15 - 30 cm
Notes: Layout “Title and Content”

## Slide 29: Fume Hoods
Do not use fume hoods as storage areas.
This increases the risk of violent reactions and is poor lab practice.
Ensure once you have finished using the hood, chemicals should be returned to their proper storage area.
Notes: Layout “Title and Content”

## Slide 30: Fume Hoods vs Biological Safety Cabinets
They may look very similar, however they should never be used inappropriately for items they were not intended for.
Fume Hood
Used for chemicals only
NO BIOLOGICALS
Biological Safety Cabinet
Used for work with cells,
cultures, & biological agents.
NO VOLATILE CHEMICALS
Notes: Layout “Title and Content”

## Slide 31: Fume Hoods & Biological Safety Cabinets
Fume Hoods and Biological Safety Cabinets are inspected yearly to ensure they work within the required parameters.
Inspections:
Annually
Tested for adequate flow
Results are labeled on the hood and indicate next inspection date
Safe sash level marked with a sticker
Never use an unsafe fume hood and report issues to your supervisor
Notes: Layout “Title and Content”

## Slide 32: Fume Hoods & Biological Safety Cabinets
Avoid Turbulence caused by:
Rapid hand movements in / out of the hood;
Obstructions at airfoil; and
Persons walking by creating disturbances.
Limit sash area:
Performance improves as sash opening decreases; and
Keep at or below the “safe” sash level (below 12” or 30cm).
Notes: Layout “Title and Content”

## Slide 33: Safe Chemical Storage
Reduces risk of:
Accidents
Spills
Fire
Explosions
Do Not Store Chemicals like this
Proper Way to Store Chemicals
Notes: Layout “Title and Content”

## Slide 34: Safe Chemical Storage
General Considerations:
  Dry Chemicals and Liquids
  Storage Groups vs Alphabetical
  Storage Locations
Flammable Liquids
Corrosive Materials
Reactive Chemicals (Oxidizers and Reducers)
Cryogenics
Compressed Gases
Notes: Layout “Title and Content”

## Slide 35: Safe Chemical Storage: General Considerations
Liquid and solid chemicals must NEVER be stored together.
Organic and inorganic chemicals must NEVER be stored together.
Know your Chemical Incompatibilities.
Store dry chemicals together (separating the organic and inorganic).
NEVER store chemicals alphabetically (unless they are compatible).
Notes: Layout “Title and Content”

## Slide 36: Safe Chemical Storage: General Considerations
Chemicals that are liquid or highly toxic must be stored no higher than the chest height of the shortest person in the lab.
Every high-risk chemical and agent in the laboratory needs to have its own training program and documentation. This includes dates and signatures of who provided the training, who the training was provided to, and when (date).
Notes: Layout “Title and Content”

## Slide 37: Safe Chemical Storage: General Considerations
If other chemicals do need to be stored on higher shelves, ensure a proper stool is used to access and return the chemical container.
A proper stool is one that has 4 feet and rubber shoes, and also has a handle to grab onto when you are on the steps.
Ensure containers are capped, and are fully on the shelves (not hanging over the edge of the shelf).
If you are unsure of where to find a stool, ask your supervisor or senior lab tech!
Notes: Layout “Title and Content”

## Slide 38: Flammable Liquids
Store flammable liquids in an approved storage cabinet (per NFPA 45).
Handle only in fume hood or outside the fume hood using approved methods.
Store away from oxidizers / peroxides.
Notes: Layout “Title and Content”

## Slide 39: Corrosive Materials
Store corrosive liquids in corrosive (ULC) cabinets only (do not store under a sink or over-head).
Store incompatible liquids using time and distance in secondary spill containment.
Always add the corrosive material to water (acid to water rule) while stirring as heat is usually generated.
Wear your PPE as needed. Did you read the SDS?
Notes: Layout “Title and Content”

## Slide 40: Corrosive Materials: Special Consideration
Glacial Acetic Acid
If storing Glacial Acetic Acid, it must be kept in a ULC approved flammable cabinet.
It must be kept segregated from xylene and its isomers (incompatible).
Care must be used when stored in metal cabinets (flammable cabinets) due to corrosive vapors – It can eventually degrade the metal shelves.
Glacial Acetic Acid will solidify if stored in a fridge below 16°C.
Notes: Layout “Title and Content”

## Slide 41: Reactives: Oxidizers & Reducers
Oxidizers are chemicals that react with other substances leaving them electron-deficient; can result in fire or explosion (rapid oxidation).
Oxidizers supply oxygen to a fire. This is why they should never be stored with flammables.
Reducers are elements or compounds in an oxidation-reduction (redox) reaction that donate an electron to another species.
Because the reducing agent is losing electrons, we say it has been oxidized.
Notes: Layout “Title and Content”

## Slide 42: Other Reactive Chemicals
Water-Reactive are chemicals that react with water, water vapor, or moist air.
Produces a flammable or toxic gas (hydrogen, phosgene).
Pyrophorics are chemicals that ignite on contact with air.
Flames may often be invisible (white phosphorus).
Common Water Reactive Chemicals
Sodium
Potassium
Lithium Metals
Aluminum Alkyls
Common Pyrophoric Chemicals
Grignard reagents
Organozincs
Aluminum Alkyls
Metal Cabonyls
Notes: Layout “Title and Content”

## Slide 43: Other Reactive Chemicals
Organic Peroxides:
An organic peroxide is any organic (carbon-containing) compound having two oxygen atoms joined together (-O-O-).
This chemical group is called a "peroxy" group.
Organic peroxides are severe fire and explosion hazards.
They can auto-decompose and can also be shock-sensitive (time or temperature).
Extra care and consideration must be made for the proper storage of these chemicals as well as special attention to expiry dates.
Notes: Layout “Title and Content”

## Slide 44: Storage of Reactives
Segregate (store separately):
Oxidizing agents from reducing agents and all organic compounds;
Reducing agents from readily reducible substances;
Pyrophoric compounds from flammables;
Perchloric acid from reducing agents and organics;
Notes: Layout “Title and Content”

## Slide 45: Storage of Reactives
Segregate (store separately):
Water from water-reactive chemicals;
  Segregate Sodium/Phosphorus & aqueous material [fire danger];
  Segregate Acid with Cyanide compounds [toxic gas release]; and
  Segregate Chlorine & Ammonia [toxic chloramines release].
Finally, store thermally unstable materials in an approved refrigerator.
Notes: Layout “Title and Content”

## Slide 46: Chemicals Requiring Special Attention, Handling and Training
Any chemical that poses a greater danger (reactive, highly toxic, carcinogenic, mutagen, etc.) must have a separate training program that is documented with dates, who provided the training, and signature of trainee.
The program must include:
i. Basic Chemical Hazards (Material Knowledge);
ii. Storage;
iii. Material and Waste Handling;
iv. Movement Through the Hospital;
v. Engineering Controls & PPE;
vi. Emergency Response; and
vii. Reference to the MSDS.
Notes: Layout “Title and Content”

## Slide 47: Cryogenics
Cold vapors can instantly freeze and damage human tissue [Ar (-186°C), O2 (-173°C), N2 (-196°C)].
Cryogenic liquids create large volumes of gas that can displace breathable oxygen.
Materials can be embrittled.
Boiling / splashing occurs when charging or filling a warm container.
Wear face shields, loose fitting, dry leather or cryogenic gloves and long pants during all transfers.
Notes: Layout “Title and Content”

## Slide 48: Compressed Gases
Chain or strap cylinders to a wall or use a cylinder holder.
Always use a cart & safety chain when transporting cylinders.
Store flammable gas lectern bottles in vented flammable storage cabinet.
Keep non-compatible gases separate [O2 and CH4].
Store multiple cylinders by “nesting” (see next slide).
No more than 3 flammable, oxygen or hazardous gas cylinders per lab (Best Practice).
Notes: Layout “Title and Content”

## Slide 49: Compressed Gas Cylinder Storage
X
X
A
X
X
A
Nested Cylinders
Aligned Cylinders
Cylinders have 2 points of contact
Cylinders have 3 points of contact
Nested cylinders are more stable
If cylinder “A” was removed from each group, how stable are the “X” cylinders?
Notes: Layout “Title and Content”

## Slide 50: Hazardous Waste Management
Notes: Layout “Title and Content”

## Slide 51: Hazardous Waste Management
Waste disposal is very costly.
Reduce waste by:
i. Buying as little of a chemical as you need;
ii. Make up only as much working solutions as you need;
iii. Keep all wastes correctly segregated (i.e.: mixing halogenated solvents in with regular solvents increases the disposal cost);
iv. Completely empty reagent bottles; and
v. Keep biological waste separate from chemical.
Notes: Layout “Title and Content”

## Slide 52: Reducing the Waste
Recycle where possible.
Share with other labs (before you buy chemicals).
Use all the chemicals in a container before new ones are opened.
Write the date on the Supplier Label of chemicals with known shelf life.
Opened May 1, 2020.
Dispose of no later than Nov. 1, 2020.
Notes: Layout “Title and Content”

## Slide 53: Chemical Waste Management
Correctly label your waste (unknowns will be rejected from the disposal company).
Use workplace labels on the waste container.
Dispose of waste often from the lab (don’t hold it).
Most non-WHMIS-controlled salts (sodium chloride, sodium sulphate, sodium carbonate) can be disposed of in regular garbage providing they are not contaminated (read the SDS).
Follow correct waste disposal methods (paperwork / inventory / tracking / labelling).
Notes: Layout “Title and Content”

## Slide 54: Empty Reagent Bottles
Non-toxic volatile organic bottles (ex. acetone, alcohol) can be dried in a fume hood with the lid removed. Once the liquid has completely evaporated, it can be placed in the garbage.
Empty containers from toxic, reactive, corrosive or flammable chemicals must be sent out as waste.
If reusing reagent bottles, only use acid bottles for waste acid, flammable bottles for flammable waste, on so on. Failure can result in a violent reaction. Ensure waste containers are labelled accordingly.
Notes: Layout “Title and Content”

## Slide 55: Chemical Emergencies
Notes: Layout “Title and Content”

## Slide 56: Chemical Spill Classification
There are 2 types of spills you need to be aware of:
Spills that are WITHIN your control;
Spills that are NOT WITHIN your control
In both cases, ensure you:
  Notify other personnel within the lab about the spill (call out: SPILL, SPILL)
  Remain calm
  Ask for assistance from colleagues/lab personnel if needed
  Notify your supervisor or senior lab technician about the spill
  Locate the SDS for the spilled material, if it is safe to do so (this will assist you with the WITHIN your control spill response. If it is NOT WITHIN your control, you can pass off the SDS to emergency responders on the CODE BROWN team).
Notes: Layout “Title and Content”

## Slide 57: Chemical Spill Classification
Spills WITHIN your control
A spill that you can safely clean up yourself based on training, experience and knowledge of the materials involved.
Ask for assistance from colleagues when needed.
Consider your knowledge of the material and the training you’ve received on it.
Consider the quantity and hazards of the spilled material (look up the SDS!).
Notify your senior lab technician and supervisor when possible and safe to do so.
Ensure you notify everyone else in the lab that a spill has occurred, and secure the area so that no one accidentally comes in contact with the spilled material.
Notes: Layout “Title and Content”

## Slide 58: Chemical Spill Classification
Spills NOT WITHIN your control
A spill that you can not safely clean up yourself and requires the attention of Trained Specialists.
Notify everyone in the lab and evacuate if necessary.
You must initiate a CODE BROWN by calling x55555 on any hospital phone.
Notify your supervisor as soon as you can however your first priority is to notify everyone in the lab and initiate a CODE BROWN to get a response from the CODE BROWN team.
More information about CODE BROWN will be covered in hospital Emergency Code learning module.
Notes: Layout “Title and Content”

## Slide 59: Chemical Spill Classification
Spills NOT within your control
An acronym to remember for a spill NOT WITHIN your control is: S.P.I.L.L.
S - Safely evacuate everyone from the immediate area
P - Prevent any further injuries, damage to property or environment and the spread of fumes
I - Initiate notification to the Emergency Response Team, from a safe location by calling x55555 and state CODE BROWN
L - Leave electrical equipment; do not turn switches on or off
L - Locate the "Safety Data Sheet (SDS)" of the spilled substance(s)
Notes: Layout “Title and Content”

## Slide 60: Remember, in the event of a spill:
Keep yourself and others safe (safe location away from the spill and vapors that may be emitted).
Where needed, provide first aid (in a safe location), only if you are trained.
Prevent the spread of fumes by closing doors and windows (if possible).
Provide the location, size and make-up of the spill when calling x55555.
Assist the Spill Response team as needed (with more information, or by keeping people out of the area where the spill occurred).
Notes: Layout “Title and Content”

## Slide 61
You have now completed this education module.
Please complete the Chemical Management Safety Quiz.
Notes: Layout name “Closing Slide – 2 Logos”